## Instructions
Instructions
© Bika Lab Systems 2014. Not to be distributed
1 | Some columns and rows are hidden – do not edit these cells | Known issues:
2 | Sheet names are case sensitive, and the keys in row 0 are always special | On Analysis Services
3 | Sheet order is important – dependencies should be loaded in earlier sheets. The manual page Order of Configuration can be used as guide | 1 | 'File attachment permitted' fields must not be empty
4 | Please also do not edit the last sheet, 'Constants', which is used to populate some of the drop down menus | 2 | 'Duplicate variation %' fields must not be empty
5 | Some sheets are linked to their corresponding setup items in the manual. Blue text against grey shading are HTML links | 3 | Keyword is compulsory and must be unique
6 | Grey shaded cells contain validation rules, mostly look-up references and formatting. If you add rows below the shaded areas, copy the shaded cells into the new rows for the best results, ensuring that the validation is applied on the new rows too | Finally, to Import:
7 | Files to be uploaded, e.g. scans of signatures (jpg) or method documents (pdf), must be available in the same folder as this spreadsheet and only the file name entered into the corresponding cell | 1 | Move the setup sheet to 3rd last from the end in the sheet set, just to the left of Constants
8 | If you freeze or split windows during the population process, please undo them before submitting the sheet. It causes problems during the upload process | 2 | Convert the .ods to OS .xlsx to upload from the Import menu

## ID Prefixes
portal_type | Object | padding | prefix | separator
Object ID prefixes
portal_type | Data object | Padding | Prefix | Sparator
AnalysisRequest | Analysis Request | 1 | AR | -
Batch | Batch | 3 | B | -
Sample | Sample | 3 | S | -
Worksheet | Worksheet | 3 | WS | -
Invoice | Invoice | 3 | I | -
ARImport | AR Import | 3 | AI | -
ReferenceSample | Reference Sample | 3 | QC | -
ReferenceAnalysis | Reference Analysis | 3 | SA | -
DuplicateAnalysis | Duplicate Analysis | 3 | D | -

## Lab Information
Field | Description | Value
Laboratory and Accreditation Information
| Description | Value
Name | Name | SANBI Bika LIMS demo
LabURL | Lab web address | http://www.bika.sanbi.ac.za/
Confidence | Confidence level % | 95
LaboratoryAccredited | Laboratory accredited ? | 1
AccreditationBodyLong | Accreditation body title | Example Accreditation Inc
AccreditationBody | Accreditation body abbreviation | SAI
AccreditationBodyURL | Accreditation body web address | sai.example.org
Accreditation | Accreditation standard, e.g ISO 17025 | ISO 17025
AccreditationReference | Lab's accreditation reference number
AccreditationBodyLogo | Accreditation body logo
TaxNumber | Tax number
Phone | Phone number
Fax | Fax number
EmailAddress | Email address | lab@sanbi.ac.za
Physical_Address | Physical address
Physical_City | Physical address city
Physical_State | Physical address state | Western Province
Physical_Zip | Physical address zip | 7535
Physical_Country | Physical address country | South Africa
Postal_Address | Postal address
Postal_City | Postal address city
Postal_State | Postal address state | Western Province
Postal_Zip | Postal address zip | 7535
Postal_Country | Postal address country | South Africa
Billing_Address | Billing address
Billing_City | Billing address city
Billing_State | Billing address state | Western Province
Billing_Zip | Billing address zip | 7535
Billing_Country | Billing address country | South Africa

## Lab Contacts
Salutation | Firstname | Surname | EmailAddress | BusinessPhone | BusinessFax | HomePhone | MobilePhone | JobTitle | Department_title | Username | Password | Groups | Roles | Signature | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Lab contacts - staff members |  |  |  | Only if a Lab contact is a LIMS user too, does he/she get given a (unique) user name and password, and assigned a role or to a group | [10 empty] | Physical address |  |  |  |  | Postal address
Salutation | First name | Surname | Email address | Business phone | Business fax | Home phone | Mobile phone | Job title | Department | User name | Password | Groups | Roles | Signature | Address | City | State | Zip | Country | Address | City | State | Zip | Country
Mr | Lab | Manager 1 | labmanager1@example.com | 021 555 1234 | 021 555 1233 | 048 813 9515 | 082 555 9910 | »Manager | Administration | labman1 | labman1 | LabManagers |  | SignatureLabman1.png
Ms | Lab | Manager 2 | labmanager2@example.com | 021 555 1236 | 021 555 1233 | 050 866 9887 | 083 555 8108 | Assistant manager | Administration | labman2 | labman2 | LabManagers |  | SignatureLabman2.png
Mr | Lab | Clerk 1 | labclerk1@example.com | 010 417 2743 | 010 417 3007 | 010417 5849 | 073 965 3368 | Clerk | Data Entry and Reporting | labclerk1 | labclerk1 | LabClerks
Mr | Lab | Clerk 2 | labclerk2@example.com | 049 587 7652 | 049 587 3252 | 049 587 9155 | 081 944 4675 | Clerk | Entomology | labclerk2 | labclerk2 | LabClerks
Ms | Lab | Analyst 1 | analyst1@example.com | 021 555 1236 | 021 555 1233 | 050 866 9887 | 083 555 8108 | Assistant manager | Data Entry and Reporting | analyst1 | analyst1 | Analysts
Ms | Lab | Analyst 2 | analyst1@example.com | 048 813 9254 | 048 813 9323 | 048 813 3719 | 088 846 9783 | Manager | Bacteriology | analyst2 | analyst2 | Analysts
Mr | Lab | Sampler 1 | sampler1@example.com | 065 463 9615 | 065 463 2791 | 065 463 1715 | 078 813 2950 | Sampler | Epidemiology | sampler1 | sampler1 | Samplers

## Lab Departments
title | description | LabContact_Username
Lab Departments
Title | Description | Manager
Administration | Lab administartion and accounts | labman1
Bacteriology | Bacteriology | sampler1
Data Entry and Reporting | Lab administartion and accounts | labman1
Entomology | Entomology | labman2
Epidemiology | Epidemiology | labman1
Virology | Virology | analyst1

## Lab Products
title | description | volume | unit | vat | price
Lab Products
Title | Description | Volume | Unit | VAT | Price
Glass Container | Typical glass container | 1 | Item | 14 | 100
Rare Specimen | Exremely rare specimen for control purposes | 1 | Bag | 14 | 599.66
Titanium Oxide | Titanium Oxide powder | 1 | Gram | 14 | 5.99
Glass Pipet | Typical glass pipet | 1 | Item | 14 | 10.12

## AR Priorities
title | description | pricePremium | sortKey | isDefault | smallIcon | bigIcon
ARPriorities
Title | Description | Price Premium % | Sort Key | Default ? | Small Icon | Big Icon
Hold | Hold | 0 | 10 | 0 | priority_hold.png | priority_hold_big.png
Normal | Normal | 0 | 20 | 1 | priority_normal.png | priority_normal_big.png
High | High | 10 | 30 | 0 | priority_high.png | priority_high_big.png
Urgent | Urgent | 20 | 40 | 0 | priority_urgent.png | priority_urgent_big.png

## Clients
Name | ClientID | MemberDiscountApplies | BulkDiscount | TaxNumber | Phone | Fax | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country | Billing_Address | Billing_City | Billing_State | Billing_Zip | Billing_Country | AccountNumber
Clients | [7 empty] | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Billing Address
Name | Client ID | Member discount applies? | Bulk discount applies? | Tax number | Phone | Fax | Email address | Address | City | State | Zip | Country | Address | City | State | Zip | Country | Address | City | State | Zip | Country | Account number
Bellville Medical Centre | BMC | 0 | 0 | SA62914-27121 | +27-21-2442645 | +27-21-2442647 | apsc@example.com | 1 Brickdam | Cape Town | Western Cape | 8000 | South Africa
Brooklyn Chest Hospital | BCHP | 0 | 0 | SA62914-27120 | +27-21-2442561 | +27-21-2442563 | bchp@example.com | Oceana Complex | Cape Town | Western Cape | 8000 | South Africa

## Client Contacts
Client_title | Salutation | Firstname | Surname | Username | Password | JobTitle | Department | BusinessPhone | BusinessFax | HomePhone | MobilePhone | EmailAddress | PublicationPreference | CCContacts | AttachmentsPermitted | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Client Contacts - Staff Members | [15 empty] | Physical Address |  |  |  |  | Postal Address
Client title | Salutation | First name | Surname | User name | Password | Job title | Department | Business phone | Business fax | Home phone | Mobile phone | Email address | Publication preference | Contacts to be cc'd | Attachments permitted | Address | City | State | Zip | Country | Address | City | State | Zip | Country
Bellville Medical Centre | Ms | Rita | Mohale | ritamo | ritamo | Product assistant | Chemistry | 038 664 6469 | 038 664 7338 | 038 664 7757 | 082 607 8405 | mohale@example.com | email,pdf | Ŝarel Seemonster | Permitted
Bellville Medical Centre | Mr | Ŝarel | Seemonster | sarelse | sarelse | Manager | Nutrient management | 040 666 6630 | 040 666 7834 | 040 666 7858 | 083 644 8576 | seemonster@example.com | email,pdf | Rita Mohale | Permitted
Bellville Medical Centre | Mr | Neil | Ŝtandard | neilst | neilst | Research assistant | Product development | 035 597 5814 | 035 597 6876 | 035 597 6344 | 080 564 7509 | standard@example.com | email,pdf | Ŝarel Seemonster, Rita Mohale | Permitted
Bellville Medical Centre | Ms | Johanna | Smith | johannasm | johannasm | Scientist | Soil science | 036 640 6016 | 036 6406911 | 036 6407167 | 081 569 7909 | smith@example.com | email,pdf |  | Permitted
Brooklyn Chest Hospital | Mr | Fred | Turner | fredtu | fredtu | QC manager | Production | 041 670 6654 | 041 6708002 | 041 670 8848 | 084 677 8884 | turner@example.com | email,pdf |  | Permitted
Brooklyn Chest Hospital | Mr | Chris | Ruffian | chrisru | chrisru | Controller | Chemistry | 025 557 4204 | 025 557 4531 | 025 557 3131 | 074 304 5021 | ruffian@example.com | email,pdf |  | Permitted
Brooklyn Chest Hospital | Mr | Andre | Corbin | andreco | andreco | Administrator | R&D | 032 586 5303 | 032 586 6331 | 032 586 5622 | 078 469 7035 | corbin@example.com | email,pdf |  | Permitted
Note on E3: Only if a Client Contact is a LIMS user too, does he/she get given a (unique) user name and password
Note on N3: Please copy from other contacts for the same Client on this sheet: Use contact Fullname (Firstname + “ “ + Lastname). If more than one needs to be cc'd, please separate with commas. Only contacts for the same client are valid.

## Attachment Types
title | description
Attachment Types
Title | Description

## Container Types
title | description
Sample Container Types
Title | Description
Centrifuge Tube | Sterile, polypropylene
Cryogenic Vial | Sterile, polypropylene
Microscopic Slide | Clean, glass
Petri Dish | Sterile, polystyrene
Sputum Container | Sterile, polypropylene
Stool Container | Sterile, polypropylene
Swab | Sterile
Transport Tube | Sterile, polypropylene
Urine Cup | Sterile, polypropylene
Wheaton Vials | Sterile, glass, 5 ml
Seed Germination Paper
Biopsy Specimen Container
Entomology Specimen Container
Petri Dish | Petri dish for cell cutture
EDTA Vacutainer | Vacutainer with purple top, pre-preserved with EDTA
Heparin Vacutainer | Vacutainer pre-preserved with heparin
PAXgene tube | PAXgene tubes preserves RNA in blood
Universal AZF container | Acetic acid-Zinc-Formalin for bone marrow trephine biopsies

## Preservations
title | description | RetentionPeriod_days | RetentionPeriod_hours | RetentionPeriod_minutes
Types of Sample Preservation |  | (Retention Period Is Required)
Title | Description | Retention period - days | Retention period - hours | Retention period - minutes
Ambient | Room Temperature | 30 | 0 | 0
Frozen -20 °C | -20°C | 1825 | 0 | 0
Frozen -70 °C | -70°C | 1825 | 0 | 0
Incubation | 34-40°C | 14 | 0 | 0
Incubation with CO2 | 34-40°C | 7 | 0 | 0
Refrigerated | 2-8°C | 1825 | 0 | 0
EDTA | Anticoagulant for blood
Heparin | Anticoagulant for blood
PAXgene | PAXgene preserves RNA in blood | 3 | 0 | 0
AZF | Acetic Acid–Zinc-Formalin

## Storage Locations
Address | SiteTitle | SiteCode | SiteDescription | LocationTitle | LocationCode | LocationDescription | LocationType | ShelfTitle | ShelfCode | ShelfDescription
Storage Locations
Address | SiteTitle | SiteCode | SiteDescription | LocationTitle | LocationCode | LocationDescription | LocationType | ShelfTitle | ShelfCode | ShelfDescription
HAM.FZ1.S2 | Hamilton | HAM | Hamliton Storage room, ground floor | Freezer 5 | FZ4 | Chest Freezer 5 | Freezer | Shelf 2 | S2 | Second shelf from top, Left hand side

## Supply Orders
order_date | client_title | product_title | product_quantity
Supply Orders
Order Date | Client | Product | Quantity
01/01/2014 | Happy Hills | Glass Container | 1
02/01/2014 | Happy Hills | Rare Specimen | 5
01/02/2014 | Happy Hills | Titanium Oxide | 20
01/02/2014 | Klaymore | Glass Pipet | 100
02/02/2014 | Klaymore | Glass Container | 50
01/03/2014 | Klaymore | Titanium Oxide | 250
31/01/2014 | Myrtle | Glass Pipet | 500

## Containers
title | description | Capacity | ContainerType_title | PrePreserved | Preservation_title
Sample Containers |  | Enter a number and unit separated by a space, e.g. 10 ml
Title | Description | Capacity | Container type title | Pre-preserved? | Preservation title
Biopsy Specimen Container |  |  | Biopsy Specimen Container | 0 | Refrigerated
Centrifuge tube 15 ml | Sterile, polypropylene | 15 ml | Centrifuge Tube | 0 | Refrigerated
Centrifuge tube 50 ml | Sterile, polypropylene | 50 ml | Centrifuge Tube | 0 | Refrigerated
Cryogenic vial 2ml (-20°C) | Sterile, polypropylene | 2.0 ml | Cryogenic Vial | 0 | Frozen -20 °C
Cryogenic vial 2ml (-70°C) | Sterile, polypropylene | 2.0 ml | Cryogenic Vial | 0 | Frozen -70 °C
Cryogenic vial 2ml (2-8°C) | Sterile, polypropylene | 2.0 ml | Cryogenic Vial | 0 | Refrigerated
Entomology Specimen Container |  |  | Entomology Specimen Container | 0 | Ambient
Faecal Swab | Sterile in Cary-Blair transport medium |  | Swab | 0 | Refrigerated
Microscopic Slide | Clean, glass |  | Microscopic Slide | 0 | Ambient
Nasopharyngeal Swab (Bacterial) | Sterile in Regan-Lowe transport medium |  | Swab | 0 | Refrigerated
Nasopharyngeal Swab (Viral) | Sterile, in viral transport medium |  | Swab | 0 | Refrigerated
Petri Dish | Sterile, polystyrene |  | Petri Dish | 0 | Incubation
Petri Dish (CO2) | Sterile, polystyrene |  | Petri Dish | 0 | Incubation with CO2
Seed Germination Paper |  |  | Seed Germination Paper | 0 | Ambient
Sputum 60 ml | Sterile, polypropylene | 60 ml | Sputum Container | 0 | Refrigerated
Stool 60 ml | Sterile, polypropylene | 60 ml | Stool Container | 0 | Refrigerated
Transport tube 15 ml | Sterile, polypropylene | 15 ml | Transport Tube | 0 | Refrigerated
Urine cup 60 ml | Sterile, polypropylene | 60 ml | Urine Cup | 0 | Refrigerated
EDTA Vacutainer | Vacutainer with purple top, pre-preserved with EDTA | 10 ml | EDTA Vacutainer | 0 | Ambient
Heparin Vacutainer | Vacutainer pre-preserved with heparin | 10 ml | Heparin Vacutainer | 0 | Ambient
PAXgene tube | PAXgene tubes preserves RNA in blood | 2.5 ml | PAXgene tube | 0 | Ambient
Universal AZF container | Container with Acetic acid-Zinc-Formalin for bone marrow trephine biopsies | 10 ml | Universal AZF container | 0 | Ambient

## Sample Matrices
title | description
Sample Matrices – 'Sample Type categories'
Title | Description
Whole blood
Tissue biopsy
Saliva
Bone marrow

## Sample Types
title | description | RetentionPeriod | Hazardous | SampleMatrix_title | Prefix | MinimumVolume | ContainerType_title
Sample Types
Title | Description | Retention period (days) | Hazardous | Sample matrix | Prefix | Minimum volume or weight | Container type
Bacterial Isolate | A population of bacteria or other cells that has been isolated. |  | 0 |  | ISB | 1 ml | Cryogenic Vial
Blood Plasma | The liquid portion of normal unclotted blood containing the red and white cells and platelets. The straw-colored/pale-yellow liquid component of blood that normally holds the blood cells in whole blood in suspension. |  | 0 | Whole blood | PL | 1 ml | Transport Tube
Serum | The clear liquid that can be separated from clotted blood. Serum differs from plasma, the liquid portion of normal unclotted blood containing the red and white cells and platelets. It is the clot that makes the difference between serum and plasma. |  | 0 | Whole blood | SE | 1 ml | Transport Tube
Solid Tissue | For instance: biopsy specimens, post-mortem samples | 30 | 0 | Tissue biopsy | ST | 1 ml | Biopsy Specimen Container
Sputum | A mixture of saliva and mucus coughed up from the respiratory tract. |  | 0 | Saliva | SP | 1 ml | Sputum Container
Stool | The solid matter that is discharged in a bowel movement. A stool test involves the collection and analysis of fecal matter to diagnose the presence or absence of a medical condition. |  | 0 |  | SL | 1 ml | Swab
Swab Faecal | A stool culture is a laboratory test used to isolate and identify pathogens in the feces of patients suspected of having digestive tract infections. A sample of the patient's feces is placed on several different types of nutrient media and observed for growth. Any suspicious organisms that grow on the media are identified using microscopic and biochemical tests. |  | 1 |  | SWF | 1 ml | Swab
Swab Nasopharyngeal | A sterile swab inside a plastic sleeve is passed up the nostril to the pharynx, the swab exteriorized, then withdrawn inside the sleeve and the appliance withdrawn. |  |  |  | SWN | 1 ml | Swab
Swab Throat | A throat culture is a technique for identifying disease bacteria in material taken from the throat. Most throat cultures are done to rule out infections caused by beta-hemolytic streptococci, which cause strep throat. Hemolytic means that these streptococci destroy red blood cells. |  |  |  | SWT | 1 ml | Swab
Water |  | 30 |  |  | WA | 1 ml | Transport Tube
Whole Blood | Blood drawn from the body from which no constituent, such as plasma or platelets, has been removed. |  |  |  | VB | 1 ml | Transport Tube
Bone marrow aspirate | The removal of a small amount of liquid bone marrow through a needle. The needle is placed through the top layer of bone, and a liquid sample containing bone marrow cells is obtained through the needle by sucking (aspirating) it into a syringe. The suction causes pain for a few moments. Bone marrow aspiration is done to diagnose and follow the progress of various conditions, including anemia and cancer, and to obtain marrow for transplantation. |  |  | Bone marrow | BMA | 1 ml | EDTA Vacutainer
Tissue biopsy | The removal of a sample of tissue for examination under a microscope to check for cancer cells or other abnormalities. |  |  | Tissue biopsy | TB | 1 ml | Biopsy Specimen Container
Bone Marrow Trephine biopsy | A biopsy in which bone marrow is collected from the patient using a Jamshidi needle. |  |  | Bone marrow | BMTB | 1 ml | Universal AZF container
Swab Buccal | Buccal swabs are used to collect cheek cells from inside the patient's mouth, usually for genetic testing. |  |  |  | SWB | 1 ml | Swab
Cell culture | The maintenance or growth of dispersed cells in a medium after removal from the body. Cell culture is the complex process by which cells are grown under controlled conditions. |  |  |  | CC | 1 ml | Petri Dish
Cerebrospinal fluid | The serumlike fluid that circulates through the ventricles of the brain, the cavity of the spinal cord, and the subarachnoid space, functioning in shock absorption. |  |  |  | CSF | 1 ml | Biopsy Specimen Container
Smear | a specimen for microscopic study prepared by spreading the material across the slide. |  |  |  | SMR | 1 ml | Microscopic Slide
Urine | A typically sterile liquid by-product of the body secreted by the kidneys through a process called urination and excreted through the urethra. |  |  |  | URN | 1 ml | Urine Cup
Note on F3: The sample type abbreviation must be unique – it is used as prefix to sample records

## Sample Points
Client_title | title | description | Latitude | Longitude | Elevation | Composite | SampleType_title
Sample Points
Client title | Title | Description | Latitude | Longitude | Elevation | Composite? | Sample type title
Constantiaberg Medi-Clinic | [5 empty] | 0 | Water
Tygerberg Hospital | [5 empty] | 0
Hospital ward | [5 empty] | 0
General Practitioner | [5 empty] | 0
General Practitioner | [5 empty] | 0
Hospital ward | [5 empty] | 0
Tygerberg Hospital | [5 empty] | 0
Constantiaberg Medi-Clinic | [5 empty] | 0

## Sample Point Sample Types
SamplePoint_title | SampleType_title
Sample Point Sample Types
Sample point | Sample type
Note on A2: If more than one Sample Type can be sampled at a Sample Point, please add entries for the extra combinations in this sheet. Single Sample Types per Sample Point can be entered 'Sample Points' sheet.

## Methods
title | description | Instructions | MethodDocument | ManualEntryOfResults | Calculation_title
Analysis Methods
Title | Description | Instructions | Method document | Manual Entry of Results? | Calculation
AST - Disk Diffusion | Antibiotic Susceptibility Testing using Disk Diffusion |  |  | 1
AST – MIC-E | Antibiotic Susceptibility Testing using Minimum Inhibitory Concentration Evaluators |  |  | 1
Bacterial Identification | Bacterial Culture and Biochemical Testing |  |  | 1 | AST - Disk Diffusion
PCR | Polymerase Chain Reaction |  |  | 1 | Insecticide Susceptibility Testing
Referral | Referral for Testing |  |  | 1
Virus Isolation | Virus Isolation by Tissue Culture |  |  | 1
MALDI | Matrix Assisted Laser Desorption Ionization |  |  | 1 | Spectrometry
Cell Counting | Automated cell counting |  |  | 1 | TC20 Biorad

## Manufacturers
title | description
Manufacturers
Title | Description
Agilent Technologies | Agilent Technologies
Applied Biosystems | Applied Biosystems
Becton Dickinson | Becton Dickinson
Biomerieux | HBsAg Ultra Confirmatory (Hepanostika)
BioRad | Platelia CMV IgM
Caribbean Public Health Agency (CARPHA) | Mosquito CARPHA controls
Cepheid | Xpert MTB/RIF sample processing control (SPC)
Dynex Technologies | Dynex Technologies
Focus Diagnostics | Dengue Virus IgG Capture
Organon Teknika | Organon Teknika
Oxoid | IDEIA Norovirus Ag ELISA
Panbio Diagnostics | West Nile Virus IgG Indirect ELISA
Standard Diagnostics | Malaria Ag P.f/Pan
UVP | UVP

## Suppliers
Name | TaxNumber | Phone | Fax | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country | Billing_Address | Billing_City | Billing_State | Billing_Zip | Billing_Country | AccountNumber
Suppliers |  |  |  |  | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Billing Address
Name | Tax Number | Phone | Fax | Email Address | Address | City | State | Zip | Country | Address | City | State | Zip | Country | Address | City | State | Zip | Country | AccountNumber
Biomerieux |  | +33-478-873785 | +33-478-872018 | brigitte.dacosta@biomerieux.com | Chemin de l'Orme | Marcy-l'Étoile | Rhône-Alpes |  | France | Chemin de l'Orme | Marcy-l'Étoile | Rhône-Alpes |  | France | Chemin de l'Orme | Marcy-l'Étoile | Rhône-Alpes |  | France
BioRad |  | +1-510-7247000 | +1-510-7415817 | diamed@bellsouth.net | 1000 Alfred Nobel Drive, Hercules |  | California | CA 94547 | United States | 1000 Alfred Nobel Drive, Hercules |  | California | CA 94547 | United States | 1000 Alfred Nobel Drive, Hercules |  | California | CA 94547 | United States
Caribbean Public Health Agency (CARPHA) |  | +1-868-6224262, +1-868-6224261 | +1-868-6289311 | laboratory@carpha.org | 16-18 Jamaica Boulevard, Federation Park | Port of Spain | City of Port of Spain |  | Trinidad and Tobago | P.O. Box 164 | Port of Spain | City of Port of Spain |  | Trinidad and Tobago | P.O. Box 164 | Port of Spain | City of Port of Spain |  | Trinidad and Tobago
Cepheid |  | +1-888-8383222 |  | techsupport@cepheid.com | 904 Caribbean Drive | Sunnyvale | California | CA 94089-1189 | United States | 904 Caribbean Drive | Sunnyvale | California | CA 94089-1189 | United States | 904 Caribbean Drive | Sunnyvale | California | CA 94089-1189 | United States
Focus Diagnostics |  | +1-800-4450185 | +1-714-2201683 | dbrandt@focusdx.com | 11331 Valley View Street, | Cypress | California | CA 90630 | United States | 11331 Valley View Street, | Cypress | California | CA 90630 | United States | 11331 Valley View Street, | Cypress | California | CA 90630 | United States
Oxoid |  | +44-1256-841144 | +44-1256-814626 | oxoid.orders@thermofisher.com | Wade Road | Basingstoke | England | RG24 8PW | United Kingdom | Wade Road | Basingstoke | England | RG24 8PW | United Kingdom | Wade Road | Basingstoke | England | RG24 8PW | United Kingdom

## Supplier Contacts
Supplier_Name | Salutation | Firstname | Surname | JobTitle | Department | BusinessPhone | BusinessFax | HomePhone | MobilePhone | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Supplier Contacts | [10 empty] | Physical Address |  |  |  |  | Postal Address
Supplier Name | Salutation | First name | Surname | Job Title | Department | Business Phone | Business Fax | Home Phone | Mobile Phone | EmailAddress | Address | City | State | Zip | Country | Address | City | State | Zip | Country
American Type Culture Collection | Mr | Bob | Dobson | Salesman | Sales | 028 274 8819 | 086 222 3600 |  | 089 445 0440 | dobson@example.come | 1 main street | Pringle Bay | Western Province
Beijing United Biochemical Co. Ltd | Mr | Long | Yi | Salesman | Sales | 028 274 8819 | 086 222 3600 |  | 089 445 0440 | dobson@example.come | 1 main street | Pringle Bay | Western Province

## Instrument Types
title | description
Instrument Types
Title | Description
Thermal cycler
Automated cell counter
Flow cytometer
Freezer -20°C
Freezer -80°C
Gel electrophoresis tank system
Liquid nitrogen tank
NanoDrop spectrophotometer
Olympus Inverted Phase Contrast microscope
Real Time PCR Light Cycler
Real Time PCR system Applied Biosystems (ABI) 9500
Spectrometer
Scale
Sequence Detector Laminar Flow cabinet
UV transilluminator system

## Instruments
assetnumber | title | description | Type | Brand | Supplier | Model | SerialNo | Method | Location | Photo | Instalationdate | InstalationCertificate | UserManualFile | UserManualID | UserManualVersion | UserManualLocation | CalibrationCertificate | CalibrationExpiryDate | VerificationExpiryDate | CalibrationExpiryDate | DataInterface | DataInterfaceOptions
Lab Instruments | Lab Instruments |  | Instruments
Asset number | Title | Description | Instrument type | Brand | Supplier | Model | Serial no | Method | Location | Photo image file | Instalation date | Installation certificate upload file | User manual upload file | User manual ID | User manual version | User manual location | Calibration certificate | Calibration expiry date | Verification expiration date | Calibration expiry date | Data interface | Data interface options
LABEQG-001 | Mass Spectrometer | Mass Spectrometer machine | Spectrometer | Applied Biosystems | BioRad | M1110 | 12334 | MALDI | S2
LABEQG-002 | Automated cell counter | Automated cell counter for cell counting analyses | Automated cell counter | BioRad | Biomerieux | MV011 | 45554 | Cell Counting | S3
LABEQG-003 | NanoDrop spectrophotometer | Spectrophotometer NanoDrop | NanoDrop spectrophotometer | Biomerieux | Biomerieux | M1112 | 12333 |  | S1
LABEQG-004 | Freezer -20°C | 420L Defy chest freezer -20°C | Freezer -20°C | Focus Diagnostics | BioRad | 101011 | 35453 |  | S4 |  | 2014-01-14 |  |  | Manual LABEQG-005 | Version - 04.2011/501268856 | S2.5.1 | SANCal 11/3691 |  | 2015-04-09
LABEQG-005 | Freezer -80°C | Marcold MRC UT 400-85 model freezer (-50°C to -86°C) | Freezer -80°C | BioRad | Biomerieux | TSQ 7000 | 43516 |  | S5 |  | 2012-04-15 |  |  | Manual LABEQG-006 | Version - DUB009-EN | S3.4.1 | SANCal 11/5953

## Instrument Validations
title | DateIssued | instrument | downfrom | downto | validator | considerations | workperformed | Worker | ReportID | remarks
Instrument Validations
Title | Report Date | Instrument | Down from | Down to | Validator | Considerations | Work performed | Performed by | Report identification Nº | Remarks
Photometric Accuracy | 2016-09-01 | Automated cell counter | 2016-08-20 | 2016-08-30 | Lab Manager 2 | Check if instrument is plugged before | Cell count accuracy | Lab Manager 1 | LMT20145004182/19
Photometric Accuracy | 2016-09-01 | Mass Spectrometer | 2016-08-20 | 2016-08-30 | Lab Manager 2 | Check if instrument is plugged before | Photometric accuracy verification | Lab Manager 1 | LMT20145004182/19
Conductivity validation | 2015-12-02 | Freezer -20°C | 2015-10-01 | 2015-12-01 | Lab Manager 2 | Check if instrument is plugged before | Some measuraments using salty water | Lab Manager 2 | LMT20145004182/20
Precision check routine | 2015-05-03 | Freezer -80°C | 2015-04-20 | 2015-05-01 | Lab Manager 2 |  |  | Lab Manager 2 | 0946/14

## Instrument Calibrations
title | DateIssued | instrument | downfrom | downto | calibrator | considerations | workperformed | Worker | ReportID | remarks
Instrument Calibrations
Title | Report Date | Instrument | Down from | Down to | Calibrator | Considerations | Work performed | Performed by | Report identification Nº | Remarks
Mass Charge Calibration | 2016-08-10 | Automated cell counter | 2016-07-01 | 2016-07-31 | Professional Calibrations Inc. |  | Replace the slide reader | Lab Manager 2 | LMT20145004182/10
Mass Charge Calibration | 2016-08-10 | Mass Spectrometer | 2016-07-01 | 2016-07-31 | Professional Calibrations Inc. |  | Replace the detector | Lab Manager 2 | LMT20145004182/10
Feezer -80 | 2015-05-17 | Freezer -80°C | 2015-04-01 | 2015-04-15 | Professional Calibrations Inc. | Easiest to calibrate than Spectro 1 |  | Lab Manager 2 | 20144000652/10

## Instrument Documents
instrument | DocumentID | DocumentVersion | DocumentLocation | DocumentType | File
Instrument Documents
Instrument title | Document ID | Document Version | Document Location | Document Type | File
Automated cell counter | 4566 | 1.1 | Lab1 | Manual | manual1.pdf
Mass Spectrometer | 4567 | 2.1 | Lab2 | Manual | manual1.pdf
Freezer -80°C | 4568 | 3.1 | Lab3 | Manual | manual1.pdf

## Instrument Certifications
assetnumber | title | instrument | date | validfrom | validto | agency | preparedby | approvedby | remarks | report
Instrument Certifications | Instrument Certifications
Asset number | Certification code | Instrument | Date | Valid from | Valid to | Agency | Prepared by | Approved by | Remarks | Report upload
LABEQG-001 | SANCal 11/5781 | Mass Spectrometer | 2016-09-01 | 2016-09-01 | 2017-12-12 | SANCal | Lab Manager 2 | Lab Manager 2
LABEQG-002 | SANCal 11/5782 | Automated cell counter | 2016-01-03 | 2016-01-03 | 2017-12-12 | SANCal | Lab Manager 2 | Lab Manager 2
LABEQG-003 | SANCal 11/5783 | Freezer -20°C | 2015-01-01 | 2015-01-01 | 2016-12-31 | SANCal | Lab Manager 2 | Lab Manager 2
LABEQG-004 | SANCal 11/4545 | Freezer -80°C | 2015-05-01 | 2015-05-01 | 2016-12-31 | SANCal | Lab Manager 2 | Lab Manager 2
LABEQG-003 | SANCal 11/5783 | NanoDrop spectrophotometer | 2015-01-01 | 2015-01-01 | 2016-12-31 | SANCal | Lab Manager 2 | Lab Manager 2

## Instrument Maintenance Tasks
title | description | instrument | type | downfrom | downto | maintaner | considerations | workperformed | cost | closed | remarks
Instrument Maintenance Tasks
Title | Description | Instrument | Type | Down from | Down to | Maintainer | Considerations | Work performed | Cost | Closed | Remarks
Freezer -20 cleaning | Cleaning of the Freezer -20 | Freezer -20°C | Preventive | 2013-01-01 | 2013-01-02 | John Steerling |  |  | 120 | 1
engine replacement | Replacement of engine | Freezer -80°C | Enhancement | 2013-02-02 | 2013-02-05 | Neiss |  |  | 357 | 1

## Instrument Schedule
title | description | instrument | type | date | numrepeats | periodicity | repeatuntil | considerations
Instrument Schedule
Ttile | Description | Instrument | Type | Date | Repeat... | … every | Repeat until | Considerations

## Analysis Categories
title | description | Department_title
Analysis Categories
Title | Description | Department
Haematology | General haematological analysis of sample (differential cell count, FBC, Film (morph), haemoglobin, white cell count, pletelet count, reticulocytes, Malaria screen and ESR), Coagulation study of sample (INR, PTT, Fibrinogen, D-dimers, Thrombin time, Antithrombin III, Lupus anticoag, Protein C, Protein S and APC Resist) and other analyses (Coombs, CSF/Fld cytosp). | Epidemiology
Immunology | Immunological analyses of patient samples. | Epidemiology
Microscopy | Microscopic analyses and diagnostic testing of sample. | Entomology
Urine analysis | Analyses of urine sample. | Entomology
Nucleic Acid Extraction | Nucleic Acid Extraction | Bacteriology
Molecular Genetic Analyses | Molecular Genetic Analyses | Bacteriology

## Calculations
title | description | Formula
Results Calculations
Title | Description | Formula
AST - Disk Diffusion | Antibiotic Susceptibility Testing using Disk Diffusion | [TV] * [TF]
AST - MIC-E | Antibiotic Susceptibility Testing using Minimum Inhibitory Concentration Evaluators | [Ca] + [Mg]
Insecticide Susceptibility Testing | Bioassays for Larvae and Adult Mosquito Insecticide Susceptibility Testing | (( [VM] + [SM] - [NM] ) / [SM] ) * 100
Spectrometry | Mass over charge | [M] / [Z]
TC20 Biorad | TC20 Automated Cell Counter | [LCC] * 100 / [TCC]

## Calculation Interim Fields
Calculation_title | keyword | title | hidden | value | unit
Interim fields used in calculations
Calculation title | Keyword | Field Title | Hidden | Default value | Unit
AST - Disk Diffusion | TV | Titr Vol | 0 | 0 | ml
AST - Disk Diffusion | TF | Titr Fact | 0 | 0
AST - MIC-E | Ca | Gross Mass | 0 | 0 | g
AST - MIC-E | Mg | Nett Mass | 0 | 0 | g
Insecticide Susceptibility Testing | VM | Vessel Mass | 0 | 0 | g
Insecticide Susceptibility Testing | SM | Sample Mass | 0 | 0 | g
Insecticide Susceptibility Testing | NM | Nett Mass | 0 | 0 | g
Spectrometry | M | Mass | 0 | 0
Spectrometry | Z | Charge | 0 | 1
TC20 Biorad | TCC | Total Cell Count | 0 | 1
TC20 Biorad | LCC | Live Cell Count | 0 | 0

## Analysis Services
title | ShortTitle | description | Keyword | PointOfCapture | AnalysisCategory_title | Department_title | ReportDryMatter | Attachment | Unit | Precision | ExponentialFormatPrecision | LowerDetectionLimit | UpperDetectionLimit | DetectionLimitSelector | MaxTimeAllowed_days | MaxTimeAllowed_hours | MaxTimeAllowed_minutes | Price | BulkPrice | VAT | ManualEntryOfResults | DefaultMethod_title | DefaultInstrument_title | Calculation_title | DuplicateVariation | Accredited | Separate | Container_title | Preservation_title
Analysis Services - The 'tests' Offered By The Lab | [14 empty] | Maximum Turnaround Time
Title | Short Title | Description | Keyword | Point of capture | Analysis category | Lab department | Can be reported as dry matter? | Results file attachment permitted | Unit | Precision | Exponential format precision | LDL | UDL | Display DL selector | Days | Hours | Minutes | Price | Bulk price | Vat | Manual Entry of Results? | Default Method | Default Instrument | Calculation | Duplicate variation % | Accredited | Separate | Default Container | Default Preservation
DNA concentration | dnaex | DNA concentration determination of sample | dnaex | lab | Nucleic Acid Extraction | Entomology | 0 | Permitted | mg/l | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 |  |  |  | 10 | 0 | 0
DNA Purity 260nm/230nm | dnap260230 | 260/230 Ratio - This ratio is used as a secondary measure of nucleic acid purity. The 260/230 values for “pure” nucleic acid are often higher than the respective 260/280 values. Expected 260/230 values are commonly in the range of 2.0-2.2. If the ratio is appreciably lower than expected, it may indicate the presence of contaminants which absorb at 230 nm. EDTA, carbohydrates and phenol all have absorbance near 230 nm. The TRIzol reagent is a phenolic solution which absorbs in the UV both at 230 nm and ~270 nm. Guanidine HCL used for DNA isolations will absorb at ~230 nm while guanidine isothiocyanate, used for RNA isolations will absorb at ~260 nm (Thermo Scientific T042‐TECHNICAL BULLETIN NanoDrop Spectrophotometers). | dnap260230 | lab | Nucleic Acid Extraction | Entomology | 0 | Permitted | mg/l | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 |  |  |  | 10 | 0 | 0
DNA Purity 260nm/280nm | dnap260280 | 260/280 Ratio - This ratio of absorbance at 260 nm and 280 nm is used to assess the purity of DNA and RNA. A ratio of ~1.8 is generally accepted as “pure” for DNA; a ratio of ~2.0 is generally accepted as “pure” for RNA. If the ratio is appreciably lower in either case, it may indicate the presence of protein, phenol or other contaminants that absorb strongly at or near 280 nm (Thermo Scientific T042 TECHNICAL BULLETIN NanoDrop Spectrophotometers). | dnap260280 | lab | Nucleic Acid Extraction | Bacteriology | 0 | Permitted | mg/l | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 |  |  |  | 10 | 0 | 0
RNA concentration | rnaex | RNA concentration determination of sample | rnaex | lab | Nucleic Acid Extraction | Bacteriology | 0 | Permitted | mg/l | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 |  |  |  | 10 | 0 | 0
RNA Purity 260nm/230nm | rnap260230 | 260/230 Ratio - This ratio is used as a secondary measure of nucleic acid purity. The 260/230 values for “pure” nucleic acid are often higher than the respective 260/280 values. Expected 260/230 values are commonly in the range of 2.0-2.2. If the ratio is appreciably lower than expected, it may indicate the presence of contaminants which absorb at 230 nm. EDTA, carbohydrates and phenol all have absorbance near 230 nm. The TRIzol reagent is a phenolic solution which absorbs in the UV both at 230 nm and ~270 nm. Guanidine HCL used for DNA isolations will absorb at ~230 nm while guanidine isothiocyanate, used for RNA isolations will absorb at ~260 nm (Thermo Scientific T042‐TECHNICAL BULLETIN NanoDrop Spectrophotometers). | rnap260230 | lab | Nucleic Acid Extraction | Bacteriology | 0 | Permitted | mS/m | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 |  |  |  | 10 | 1 | 0
RNA Purity 260nm/280nm | rnap260280 | 260/280 Ratio - This ratio of absorbance at 260 nm and 280 nm is used to assess the purity of DNA and RNA. A ratio of ~1.8 is generally accepted as “pure” for DNA; a ratio of ~2.0 is generally accepted as “pure” for RNA. If the ratio is appreciably lower in either case, it may indicate the presence of protein, phenol or other contaminants that absorb strongly at or near 280 nm (Thermo Scientific T042 TECHNICAL BULLETIN NanoDrop Spectrophotometers). | rnap260280 | lab | Nucleic Acid Extraction | Bacteriology | 0 | Permitted | mg/l | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 |  |  |  | 10 | 0 | 0
PCR | pcr | Conventional PCR | pcr | lab | Molecular Genetic Analyses | Bacteriology | 0 | Permitted | mg/l | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 |  |  |  | 10 | 0 | 0
PCR. FLT3-D835 | pcrfltd835 | Convential PCR: FLT3-D835 | pcrfltd835 | field | Molecular Genetic Analyses | Epidemiology | 0 | Permitted | mg/l | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 |  |  |  | 10 | 0 | 0
PCR. FLT3-ITD | pcrflt3itd | Convential PCR: FLT3-ITD | pcrflt3itd | field | Molecular Genetic Analyses | Epidemiology | 0 | Permitted | mg/l | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 |  |  |  | 10 | 0 | 0
Differential cell count | General haematological analysis of sample - differential cell count. A blood cell count in which the percentages of cell types are calculated as well as the total number of cells. |  | diffcellcount | lab | Molecular Genetic Analyses | Entomology | 0 | Permitted | % | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 0 | Cell Counting | Automated cell counter |  | 10 | 0 | 0
Mass Spectrometry | MALDI | Mass spectrometry MALDI-TOF | Maldi-tof | lab | Molecular Genetic Analyses | Entomology | 0 | Permitted | m/z | 2 | 7 | 0 | 1000000000 | 0 | 0 | 0 | 1 | 10 | 7.5 | 14 | 1 | MALDI |  | Spectrometry | 10 | 0 | 0

## AnalysisService Methods
Service_title | Method_title
Analysis Services – Methods
Service title | Method title

## AnalysisService Instruments
Service_title | Instrument_title
Analysis Services – Instruments
Service title | Instrument title

## AnalysisService InterimFields
Service_title | keyword | title | value | unit
Interim Fields Used In Analysis Services
Service Title | Keyword | Field Title | Default value | Unit

## AnalysisService ResultOptions
Service_title | ResultText | ResultValue
Analysis Services results options
Title | Result options | Result value
DNA Purity 260nm/230nm | Equivocal | 0
DNA Purity 260nm/230nm | Negative | -1
DNA Purity 260nm/230nm | Positive | 1
DNA Purity 260nm/230nm | Test Failure | -2
RNA Purity 260nm/230nm | Equivocal | 0
RNA Purity 260nm/230nm | Negative | -1
RNA Purity 260nm/230nm | Positive | 1
RNA Purity 260nm/230nm | Test Failure | -2
RNA Purity 260nm/230nm | Negative | -1
PCR. FLT3-D835 | Equivocal | 0
PCR. FLT3-D835 | Negative | -1
PCR. FLT3-D835 | Positive | 1
PCR. FLT3-D835 | Test Failure | -2
Note on B3: From the manual: 'Some Analyses requiring text input as results is best limited to a number of known possible outcomes to prevent typos and irrelevant input skewing reporting. The known outcomes, e.g. 'Positive' or 'Negative', can be pre-configured here and only these allowed when results are captured. These will be offered as options on a drop-down menu on the data capturing screens'

## Analysis Service Uncertainties
Service_title | Range Min | Range Max | Uncertainty Value
Analysis Service Uncertainties
Analysis service title | Result Range min | Result range max | Uncertainty value
DNA concentration | 0 | 2.3 | 0.1
DNA concentration | 2.01 | 4 | 0.2
DNA concentration | 4.01 | 6 | 0.3
DNA concentration | 6.01 | 8 | 0.4
DNA concentration | 8.01 | 999 | 0.5
DNA Purity 260nm/230nm | 0 | 2 | 0.1
DNA Purity 260nm/230nm | 2.01 | 4 | 0.2
DNA Purity 260nm/230nm | 4.01 | 6 | 0.3
DNA Purity 260nm/230nm | 6.01 | 8 | 0.4
DNA Purity 260nm/230nm | 8.01 | 999 | 0.5
DNA Purity 260nm/280nm | 0 | 2 | 0.1
DNA Purity 260nm/280nm | 2.01 | 4 | 0.2
DNA Purity 260nm/280nm | 4.01 | 6 | 0.3
DNA Purity 260nm/280nm | 6.01 | 8 | 0.4
DNA Purity 260nm/280nm | 8.01 | 999 | 0.5
RNA concentration | 0 | 2 | 0.1
RNA concentration | 2.01 | 4 | 0.2
RNA concentration | 4.01 | 6 | 0.3
RNA concentration | 6.01 | 8 | 0.4
RNA concentration | 8.01 | 999 | 0.5
RNA Purity 260nm/230nm | 0 | 2 | 0.1
RNA Purity 260nm/230nm | 2.01 | 4 | 0.2
RNA Purity 260nm/230nm | 4.01 | 6 | 0.3
RNA Purity 260nm/230nm | 6.01 | 8 | 0.4
RNA Purity 260nm/230nm | 8.01 | 999 | 0.5
RNA Purity 260nm/280nm | 0 | 2 | 0.1
RNA Purity 260nm/280nm | 2.01 | 4 | 0.2
RNA Purity 260nm/280nm | 4.01 | 6 | 0.3
RNA Purity 260nm/280nm | 6.01 | 8 | 0.4
RNA Purity 260nm/280nm | 8.01 | 999 | 0.5
PCR | 0 | 2 | 0.1
PCR | 2.01 | 4 | 0.2
PCR | 4.01 | 6 | 0.3
PCR | 6.01 | 8 | 0.4
PCR | 8.01 | 999 | 0.5
PCR. FLT3-D835 | 0 | 2 | 0.1
PCR. FLT3-D835 | 2.01 | 4 | 0.2
PCR. FLT3-D835 | 4.01 | 6 | 0.3
PCR. FLT3-D835 | 6.01 | 8 | 0.4
PCR. FLT3-D835 | 8.01 | 999 | 0.5
PCR. FLT3-ITD | 0 | 2 | 0.1
PCR. FLT3-ITD | 2.01 | 4 | 0.2
PCR. FLT3-ITD | 4.01 | 6 | 0.3
PCR. FLT3-ITD | 6.01 | 8 | 0.4
PCR. FLT3-ITD | 8.01 | 999 | 0.5

## Analysis Profiles
Client_title | title | description | ProfileKey | CostCode | Remarks
Analysis Profiles
Client | Title | Description | Profile key | Cost code | Remarks
| Nucleic Acid Extraction | MPN | nucleicacidex
| Acute Myeloid Leukemia | PTB | AML
| Myeloproliferative Neoplasm | BMTB | MN
5

## Analysis Profile Services
Profile | Service
Analysis Profile Services
Profile | Analyses
Nucleic Acid Extraction | DNA concentration
Nucleic Acid Extraction | DNA Purity 260nm/230nm
Nucleic Acid Extraction | DNA Purity 260nm/280nm
Nucleic Acid Extraction | RNA concentration
Nucleic Acid Extraction | RNA Purity 260nm/230nm
Nucleic Acid Extraction | RNA Purity 260nm/280nm
Acute Myeloid Leukemia | PCR
Acute Myeloid Leukemia | PCR. FLT3-D835
Myeloproliferative Neoplasm | PCR. FLT3-ITD

## Analysis Specifications
Title | Client_title | SampleType_title | service | min | max | error
Analysis Specifications
Title | Client | Sample type | Analysis service | Minimum | Maximum | Tolerance %
Blood Analysis |  | Whole Blood | DNA Purity 260nm/280nm | 1.7 | 2 | 0
Blood Analysis |  | Whole Blood | RNA Purity 260nm/230nm | 2 | 2.2 | 0
Blood Analysis |  | Whole Blood | RNA Purity 260nm/280nm | 1.7 | 2 | 0
Cell Proliferation |  | Solid Tissue | Mass Spectrometry | 1 | 5000 | 3
Cell Proliferation |  | Cell culture | Differential cell count | 0 | 100 | 3
Cell Proliferation |  | Cell culture | PCR. FLT3-ITD | 2.5 | 6.7 | 3

## AR Templates
title | Client_title | description | SampleType_title | SamplePoint_title | AnalysisProfile_title | Remarks | ReportDryMatter
Analysis Request Templates
Template title | Client title | Description | Sample type | Sample point | Analysis profile | Remarks | Report as dry matter?
Nucleic Acid Extraction | Bellville Medical Centre | Extraction of nucleic acids (DNA and/or RNA) from sample and determination of sample concentration and purity. | Whole Blood |  | Nucleic Acid Extraction |  | 0
Acute Myeloid Leukemia | Brooklyn Chest Hospital | Patient screening for AML | Bone marrow aspirate |  | Acute Myeloid Leukemia |  | 0

## AR Template Analyses
ARTemplate | service_uid | partition
AR Template Analyses
AR Template title | Analysis Service | Partition
Nucleic Acid Extraction | DNA concentration | part-1
Nucleic Acid Extraction | DNA Purity 260nm/230nm | part-1
Nucleic Acid Extraction | DNA Purity 260nm/280nm | part-1
Nucleic Acid Extraction | RNA concentration | part-1
Nucleic Acid Extraction | RNA Purity 260nm/230nm | part-1
Nucleic Acid Extraction | RNA Purity 260nm/280nm | part-1
Acute Myeloid Leukemia | PCR | part-1
Acute Myeloid Leukemia | PCR. FLT3-D835 | part-1
Acute Myeloid Leukemia | PCR. FLT3-ITD | part-1

## AR Template Partitions
ARTemplate | part_id | container | preservation
AR Template Partitions
AR Template title | Partition | Container | Preservation

## Reference Definitions
title | description | Hazardous | Blank | DateCreated | ExpiryDate
Reference Definitions
Reference Definition title | Description | Hazardous? | Blank? | Date created | Expiry date
Distilled Water | Distilled water | 0 | 1 | 2012-10-02 | 2014-10-02
Trace Metals 9 | All trace metals (Except Calcium) expected 10 ppm | 0 | 0 | 2012-10-02 | 2015-10-02
Trace Metals 10 | All trace metals expected 10 ppm | 0 | 0 | 2012-10-02 | 2014-10-02

## Reference Definition Results
ReferenceDefinition_title | service | result | min | max
Reference Definition Expected Values
Reference Definition title | Analysis service | Result | Minimum | Maximum

## Reference Samples
id | description | Supplier_title | ReferenceDefinition_title | Manufacturer_title | Blank | Hazardous | CatalogueNumber | LotNumber | ExpiryDate | DateSampled | DateReceived | DateOpened | DateExpired | DateDisposed | Remarks
Reference Samples
Reference Sample ID | Description | Supplier | Reference Definition | Manufacturer | Blank | Hazardous | Catalogue Number | Lot Number | Expiry Date | Date Sampled | Date Received | Date Opened | Date Expired | Date Disposed | Remarks

## Reference Sample Results
ReferenceSample_id | AnalysisService_title | result | min | max
Reference Sample Expected Values
Reference Sample ID | Analysis service | Result | Minimum | Maximum

## Reference Analyses
ReferenceSample_id | id | ReferenceType | AnalysisService_title | Result | ResultDM | Analyst | Instrument | Retested | Uncertainty | creator | created | workflow_history
Reference Analyses
Reference Sample | id | Reference Type | Analysis Service | Result | Dry Result | Analyst | Instrument | Retested | Uncertainty

## Reference Analyses Interims
ReferenceAnalysis_id | keyword | title | value | unit | hidden
Interim Fields for Reference Analyses
Reference Analysis | Keyword | Field Title | Default value | Unit | Hidden

## Sampling Deviations
title | description
Sampling Deviations
Title | Description
Sampled by client | The client collected and submitted the sample
Auto Sampler | Grab sample every hour
Remote composite sample | Dust filter collected once a month
Imported sample data | The sample was not created in the LIMS UI

## Samples
id | Client_title | ClientSampleID | SamplingDate | DateSampled | DateReceived | DateExpired | DateDisposed | AdHoc | Composite | SampleType | SamplePoint | SamplingDeviation | Remarks
Samples
Sample ID | Client | Client Sample ID | Sampling Date | Date Sampled | Date Received | Date Expired | Date Disposed | Ad Hoc | Composite | Sample Type | Sample Point | Sampling Deviation | Remarks

## Analysis Requests
id | Sample_id | Client_title | Contact_Fullname | CCContact_Fullname | CCEmails | AnalysisProfile_title | ARTemplate_title | ClientOrderNumber | InvoiceExclude | ReportDryMatter | DateReceived | DatePublished | Remarks
Analysis Requests
Request ID | Sample ID | Client | Contact | CC Contact | CC Emails | Analysis Profile | AR Template | Client Order | Exclude from Invoice | Rreport Dry Matter | Date Received | DatePublished | Remarks

## Analyses
AnalysisRequest_id | id | AnalysisService_title | Calculation_title | Result | ResultCaptureDate | ResultDM | Analyst | Instrument | Retested | MaxTimeAllowed_days | MaxTimeAllowed_hours | MaxTimeAllowed_minutes | ReportDryMatter
Analyses | [12 empty] | 0
Analysis Request | id | Analysis Service | Calculation_title | Result | Capture Date | Dry Result | Analyst | Instrument | Retested | Max time - days | Max time - hours | Max time - minutes

## Analysis Interims
Analysis_id | keyword | title | value | unit | hidden
Interim Fields for Analyses
Analysis | Keyword | Field Title | Default value | Unit | Hidden

## Product Categories
title | description
Product Categories
Title | Description
Sampling kit | Kit used for storing and transporting sampling equipment
Kit component | Components inside sampling kits
Sampling container | Container for storing collected samples
Analysis kit | Kit used for storing analysis equipment
Printer consumable | Consumables used for printing
Chemical | Chemicals used for analysis

## Storage Types
title | description
Storage Types
Title | Description
Room temperature | Room dry place
4 deg C fridge | Fridge at 4 degree Celsius
-80 C freezer | Freezer at -80 degree Celsius
LN tank storage | Liquid Nitrogen tank storage

## Setup
Field | Description | Value
Setup – Global defaults
Field | Description | Value
PasswordLifetime | Password lifetime (days) | 0
AutoLogOff | Auto log off period (minutes) | 0
Currency | Currency | ZAR
ShowPartitions | Show Sample Partitions | 0
ShowPricing | Show pricing | 1
MemberDiscount | Member discount % | 15
VAT | Vat % | 14
MinimumResults | Minimum results for stats | 5
BatchEmail | Max email batch size | 5
BatchFax | Max fax batch size | 4
SMSGatewayAddress | Sms gateway address
SamplingWorkflowEnabled | Sampling workflow enabled? | 0
ScheduleSamplingEnabled | Schedule Sampling workflow enabled | 0
CategoriseAnalysisServices | Analysis services categorised in setup? | 1
ARImportOption | Bulk ar import option | Classic
ARAttachmentOption | Ar results file attachment option | Permitted
AnalysisAttachmentOption | Analysis results attachment option | Permitted
DefaultSampleLifetime_days | Default sample retention period – days | 30
DefaultSampleLifetime_hours | Default sample retention period – hours | 0
DefaultSampleLifetime_minutes | Default sample retention period – minutes | 0
AutoPrintLabels | Auto label printing workflow step | none
AutoLabelSize | Auto label printing size | small
YearInPrefix | Must the year be included in sample prefixes? | 0
SampleIDPadding | Sample id padding | 4
ARIDPadding | Ar id padding | 2
ExternalIDServer | External id server? | 0
IDServerURL | Id server url
DefaultCountry | Default Country | ZA

## Constants
Roles | Groups | AR Import options | Results Attachment option | Auto label print size | Auto Label Printing | Boolean | Publication Preferences | North South | East West | Point of capture
Analyst | Analysts | Classic | Not Permitted | normal | receive | 0 | email | N | E | field
LabClerk | LabClerks | Profiles | Permitted | small | register | 1 | pdf | S | W | lab
LabManager | LabManagers | Special | Required |  | none |  | email,pdf
Preserver | Preservers
Publisher | Publishers
Sampler | Samplers
Verifier | Verifiers
ClientType | Currency | Partitions | Worksheet template analysis types | Client types | Gender | Instrument Maintenance task types | Instrument Scheduled tasks types | Instrument Scheduled Repeat unit
noncorporate | AED | part-1 | Blank | Corporate | Male | Preventive | Preventive | Days
| AFN | part-2 | Control | Non-corporate | Female | Repair | Repair | Weeks
| ALL | part-3 | Analysis |  | Don't Know | Enhancement | Enhancement | Months
| AMD | part-4 | Duplicate |  |  |  | Calibration | Years
| ANG | part-5 |  |  |  |  | Validation
| AOA | part-6
| ARS | part-7
| AUD | part-8
| AWG | part-9
| AZN | part-10
| BAM | part-11
| BBD | part-12
BDT
BGN
BHD
BIF
BMD
BND
BOB
BOV
BRL
BSD
BTN
BWP
BYR
BZD
CAD
CDF
CHE
CHF
CHW
CLF
CLP
CNY
COP
COU
CRC
CUC
CUP
CVE
CZK
DJF
DKK
DOP
DZD
EGP
ERN
ETB
EUR
FJD
FKP
GBP
GEL
GHS
GIP
GMD
GNF
GTQ
GYD
HKD
HNL
HRK
HTG
HUF
IDR
ILS
INR
IQD
IRR
ISK
JMD
JOD
JPY
KES
KGS
KHR
KMF
KPW
KRW
KWD
KYD
KZT
LAK
LBP
LKR
LRD
LSL
LTL
LVL
LYD
MAD
MDL
MGA
MKD
MMK
MNT
MOP
MRO
MUR
MVR
MWK
MXN
MXV
MYR
MZN
NAD
NGN
NIO
NOK
NPR
NZD
OMR
PAB
PEN
PGK
PHP
PKR
PLN
PYG
QAR
RON
RSD
RUB
RWF
SAR
SBD
SCR
SDG
SEK
SGD
SHP
SLL
SOS
SRD
SSP
STD
SYP
SZL
THB
TJS
TMT
TND
TOP
TRY
TTD
TWD
TZS
UAH
UGX
USD
USN
USS
UYI
UYU
UZS
VEF
VND
VUV
WST
XAF
XAG
XAU
XBA
XBB
XBC
XBD
XCD
XDR
XFU
XOF
XPD
XPF
XPT
XTS
XXX
YER
ZAR
ZMK
ZWL

## Countries
Numeric code | Country | Country code | Country
4 | Afghanistan | AF | AFGHANISTAN
248 | Åland Islands | AX | ÅLAND ISLANDS
8 | Albania | AL | ALBANIA
12 | Algeria | DZ | ALGERIA
16 | American Samoa | AS | AMERICAN SAMOA
20 | Andorra | AD | ANDORRA
24 | Angola | AO | ANGOLA
660 | Anguilla | AI | ANGUILLA
10 | Antarctica | AQ | ANTARCTICA
28 | Antigua and Barbuda | AG | ANTIGUA AND BARBUDA
32 | Argentina | AR | ARGENTINA
51 | Armenia | AM | ARMENIA
533 | Aruba | AW | ARUBA
36 | Australia | AU | AUSTRALIA
40 | Austria | AT | AUSTRIA
31 | Azerbaijan | AZ | AZERBAIJAN
44 | Bahamas | BS | BAHAMAS
48 | Bahrain | BH | BAHRAIN
50 | Bangladesh | BD | BANGLADESH
52 | Barbados | BB | BARBADOS
112 | Belarus | BY | BELARUS
56 | Belgium | BE | BELGIUM
84 | Belize | BZ | BELIZE
204 | Benin | BJ | BENIN
60 | Bermuda | BM | BERMUDA
64 | Bhutan | BT | BHUTAN
68 | Bolivia, Plurinational State of | BO | BOLIVIA, PLURINATIONAL STATE OF
535 | Bonaire, Sint Eustatius and Saba | BQ | BONAIRE, SINT EUSTATIUS AND SABA
70 | Bosnia and Herzegovina | BA | BOSNIA AND HERZEGOVINA
72 | Botswana | BW | BOTSWANA
74 | Bouvet Island | BV | BOUVET ISLAND
76 | Brazil | BR | BRAZIL
86 | British Indian Ocean Territory | IO | BRITISH INDIAN OCEAN TERRITORY
96 | Brunei Darussalam | BN | BRUNEI DARUSSALAM
100 | Bulgaria | BG | BULGARIA
854 | Burkina Faso | BF | BURKINA FASO
108 | Burundi | BI | BURUNDI
116 | Cambodia | KH | CAMBODIA
120 | Cameroon | CM | CAMEROON
124 | Canada | CA | CANADA
132 | Cape Verde | CV | CAPE VERDE
136 | Cayman Islands | KY | CAYMAN ISLANDS
140 | Central African Republic | CF | CENTRAL AFRICAN REPUBLIC
148 | Chad | TD | CHAD
152 | Chile | CL | CHILE
156 | China | CN | CHINA
162 | Christmas Island | CX | CHRISTMAS ISLAND
166 | Cocos (Keeling) Islands | CC | COCOS (KEELING) ISLANDS
170 | Colombia | CO | COLOMBIA
174 | Comoros | KM | COMOROS
178 | Congo | CG | CONGO
180 | Congo, the Democratic Republic of the | CD | CONGO, THE DEMOCRATIC REPUBLIC OF THE
184 | Cook Islands | CK | COOK ISLANDS
188 | Costa Rica | CR | COSTA RICA
384 | Côte d'Ivoire | CI | CÔTE D'IVOIRE
191 | Croatia | HR | CROATIA
192 | Cuba | CU | CUBA
531 | Curaçao | CW | CURAÇAO
196 | Cyprus | CY | CYPRUS
203 | Czech Republic | CZ | CZECH REPUBLIC
208 | Denmark | DK | DENMARK
262 | Djibouti | DJ | DJIBOUTI
212 | Dominica | DM | DOMINICA
214 | Dominican Republic | DO | DOMINICAN REPUBLIC
218 | Ecuador | EC | ECUADOR
818 | Egypt | EG | EGYPT
222 | El Salvador | SV | EL SALVADOR
226 | Equatorial Guinea | GQ | EQUATORIAL GUINEA
232 | Eritrea | ER | ERITREA
233 | Estonia | EE | ESTONIA
231 | Ethiopia | ET | ETHIOPIA
238 | Falkland Islands (Malvinas) | FK | FALKLAND ISLANDS (MALVINAS)
234 | Faroe Islands | FO | FAROE ISLANDS
242 | Fiji | FJ | FIJI
246 | Finland | FI | FINLAND
250 | France | FR | FRANCE
254 | French Guiana | GF | FRENCH GUIANA
258 | French Polynesia | PF | FRENCH POLYNESIA
260 | French Southern Territories | TF | FRENCH SOUTHERN TERRITORIES
266 | Gabon | GA | GABON
270 | Gambia | GM | GAMBIA
268 | Georgia | GE | GEORGIA
276 | Germany | DE | GERMANY
288 | Ghana | GH | GHANA
292 | Gibraltar | GI | GIBRALTAR
300 | Greece | GR | GREECE
304 | Greenland | GL | GREENLAND
308 | Grenada | GD | GRENADA
312 | Guadeloupe | GP | GUADELOUPE
316 | Guam | GU | GUAM
320 | Guatemala | GT | GUATEMALA
831 | Guernsey | GG | GUERNSEY
324 | Guinea | GN | GUINEA
624 | Guinea-Bissau | GW | GUINEA-BISSAU
328 | Guyana | GY | GUYANA
332 | Haiti | HT | HAITI
334 | Heard Island and McDonald Islands | HM | HEARD ISLAND AND MCDONALD ISLANDS
336 | Holy See (Vatican City State) | VA | HOLY SEE (VATICAN CITY STATE)
340 | Honduras | HN | HONDURAS
344 | Hong Kong | HK | HONG KONG
348 | Hungary | HU | HUNGARY
352 | Iceland | IS | ICELAND
356 | India | IN | INDIA
360 | Indonesia | ID | INDONESIA
364 | Iran, Islamic Republic of | IR | IRAN, ISLAMIC REPUBLIC OF
368 | Iraq | IQ | IRAQ
372 | Ireland | IE | IRELAND
833 | Isle of Man | IM | ISLE OF MAN
376 | Israel | IL | ISRAEL
380 | Italy | IT | ITALY
388 | Jamaica | JM | JAMAICA
392 | Japan | JP | JAPAN
832 | Jersey | JE | JERSEY
400 | Jordan | JO | JORDAN
398 | Kazakhstan | KZ | KAZAKHSTAN
404 | Kenya | KE | KENYA
296 | Kiribati | KI | KIRIBATI
408 | Korea, Democratic People's Republic of | KP | KOREA, DEMOCRATIC PEOPLE'S REPUBLIC OF
410 | Korea, Republic of | KR | KOREA, REPUBLIC OF
414 | Kuwait | KW | KUWAIT
417 | Kyrgyzstan | KG | KYRGYZSTAN
418 | Lao People's Democratic Republic | LA | LAO PEOPLE'S DEMOCRATIC REPUBLIC
428 | Latvia | LV | LATVIA
422 | Lebanon | LB | LEBANON
426 | Lesotho | LS | LESOTHO
430 | Liberia | LR | LIBERIA
434 | Libya | LY | LIBYA
438 | Liechtenstein | LI | LIECHTENSTEIN
440 | Lithuania | LT | LITHUANIA
442 | Luxembourg | LU | LUXEMBOURG
446 | Macao | MO | MACAO
807 | Macedonia, the former Yugoslav Republic of | MK | MACEDONIA, THE FORMER YUGOSLAV REPUBLIC OF
450 | Madagascar | MG | MADAGASCAR
454 | Malawi | MW | MALAWI
458 | Malaysia | MY | MALAYSIA
462 | Maldives | MV | MALDIVES
466 | Mali | ML | MALI
470 | Malta | MT | MALTA
584 | Marshall Islands | MH | MARSHALL ISLANDS
474 | Martinique | MQ | MARTINIQUE
478 | Mauritania | MR | MAURITANIA
480 | Mauritius | MU | MAURITIUS
175 | Mayotte | YT | MAYOTTE
484 | Mexico | MX | MEXICO
583 | Micronesia, Federated States of | FM | MICRONESIA, FEDERATED STATES OF
498 | Moldova, Republic of | MD | MOLDOVA, REPUBLIC OF
492 | Monaco | MC | MONACO
496 | Mongolia | MN | MONGOLIA
499 | Montenegro | ME | MONTENEGRO
500 | Montserrat | MS | MONTSERRAT
504 | Morocco | MA | MOROCCO
508 | Mozambique | MZ | MOZAMBIQUE
104 | Myanmar | MM | MYANMAR
516 | Namibia | NA | NAMIBIA
520 | Nauru | NR | NAURU
524 | Nepal | NP | NEPAL
528 | Netherlands | NL | NETHERLANDS
540 | New Caledonia | NC | NEW CALEDONIA
554 | New Zealand | NZ | NEW ZEALAND
558 | Nicaragua | NI | NICARAGUA
562 | Niger | NE | NIGER
566 | Nigeria | NG | NIGERIA
570 | Niue | NU | NIUE
574 | Norfolk Island | NF | NORFOLK ISLAND
580 | Northern Mariana Islands | MP | NORTHERN MARIANA ISLANDS
578 | Norway | NO | NORWAY
512 | Oman | OM | OMAN
586 | Pakistan | PK | PAKISTAN
585 | Palau | PW | PALAU
275 | Palestine, State of | PS | PALESTINE, STATE OF
591 | Panama | PA | PANAMA
598 | Papua New Guinea | PG | PAPUA NEW GUINEA
600 | Paraguay | PY | PARAGUAY
604 | Peru | PE | PERU
608 | Philippines | PH | PHILIPPINES
612 | Pitcairn | PN | PITCAIRN
616 | Poland | PL | POLAND
620 | Portugal | PT | PORTUGAL
630 | Puerto Rico | PR | PUERTO RICO
634 | Qatar | QA | QATAR
638 | Réunion | RE | RÉUNION
642 | Romania | RO | ROMANIA
643 | Russian Federation | RU | RUSSIAN FEDERATION
646 | Rwanda | RW | RWANDA
652 | Saint Barthélemy | BL | SAINT BARTHÉLEMY
654 | Saint Helena, Ascension and Tristan da Cunha | SH | SAINT HELENA, ASCENSION AND TRISTAN DA CUNHA
659 | Saint Kitts and Nevis | KN | SAINT KITTS AND NEVIS
662 | Saint Lucia | LC | SAINT LUCIA
663 | Saint Martin (French part) | MF | SAINT MARTIN (FRENCH PART)
666 | Saint Pierre and Miquelon | PM | SAINT PIERRE AND MIQUELON
670 | Saint Vincent and the Grenadines | VC | SAINT VINCENT AND THE GRENADINES
882 | Samoa | WS | SAMOA
674 | San Marino | SM | SAN MARINO
678 | Sao Tome and Principe | ST | SAO TOME AND PRINCIPE
682 | Saudi Arabia | SA | SAUDI ARABIA
686 | Senegal | SN | SENEGAL
688 | Serbia | RS | SERBIA
690 | Seychelles | SC | SEYCHELLES
694 | Sierra Leone | SL | SIERRA LEONE
702 | Singapore | SG | SINGAPORE
534 | Sint Maarten (Dutch part) | SX | SINT MAARTEN (DUTCH PART)
703 | Slovakia | SK | SLOVAKIA
705 | Slovenia | SI | SLOVENIA
90 | Solomon Islands | SB | SOLOMON ISLANDS
706 | Somalia | SO | SOMALIA
710 | South Africa | ZA | SOUTH AFRICA
239 | South Georgia and the South Sandwich Islands | GS | SOUTH GEORGIA AND THE SOUTH SANDWICH ISLANDS
728 | South Sudan | SS | SOUTH SUDAN
724 | Spain | ES | SPAIN
144 | Sri Lanka | LK | SRI LANKA
729 | Sudan | SD | SUDAN
740 | Suriname | SR | SURINAME
744 | Svalbard and Jan Mayen | SJ | SVALBARD AND JAN MAYEN
748 | Swaziland | SZ | SWAZILAND
752 | Sweden | SE | SWEDEN
756 | Switzerland | CH | SWITZERLAND
760 | Syrian Arab Republic | SY | SYRIAN ARAB REPUBLIC
158 | Taiwan, Province of China | TW | TAIWAN, PROVINCE OF CHINA
762 | Tajikistan | TJ | TAJIKISTAN
834 | Tanzania, United Republic of | TZ | TANZANIA, UNITED REPUBLIC OF
764 | Thailand | TH | THAILAND
626 | Timor-Leste | TL | TIMOR-LESTE
768 | Togo | TG | TOGO
772 | Tokelau | TK | TOKELAU
776 | Tonga | TO | TONGA
780 | Trinidad and Tobago | TT | TRINIDAD AND TOBAGO
788 | Tunisia | TN | TUNISIA
792 | Turkey | TR | TURKEY
795 | Turkmenistan | TM | TURKMENISTAN
796 | Turks and Caicos Islands | TC | TURKS AND CAICOS ISLANDS
798 | Tuvalu | TV | TUVALU
800 | Uganda | UG | UGANDA
804 | Ukraine | UA | UKRAINE
784 | United Arab Emirates | AE | UNITED ARAB EMIRATES
826 | United Kingdom | GB | UNITED KINGDOM
840 | United States | US | UNITED STATES
581 | United States Minor Outlying Islands | UM | UNITED STATES MINOR OUTLYING ISLANDS
858 | Uruguay | UY | URUGUAY
860 | Uzbekistan | UZ | UZBEKISTAN
548 | Vanuatu | VU | VANUATU
862 | Venezuela, Bolivarian Republic of | VE | VENEZUELA, BOLIVARIAN REPUBLIC OF
704 | Viet Nam | VN | VIET NAM
92 | Virgin Islands, British | VG | VIRGIN ISLANDS, BRITISH
850 | Virgin Islands, U.S. | VI | VIRGIN ISLANDS, U.S.
876 | Wallis and Futuna | WF | WALLIS AND FUTUNA
732 | Western Sahara | EH | WESTERN SAHARA
887 | Yemen | YE | YEMEN
894 | Zambia | ZM | ZAMBIA
716 | Zimbabwe | ZW | ZIMBABWE